## Header
SEN3EXP
Vegetation Ground Measurements
GENERAL INFO
| Field Campaing | SEN3EXP
| Site | Barrax (Las Tiesas)
| Coordinates | lat=39.045853º N, lon=2.093339º W (datum: WGS-84, center site)
| Altitude | 700 m
| Dates | 20th-24th of June 2009
| Instruments | Digital Hemispherical Photographs (DHP); LICOR LAI2000; SPAD 502
| Sampling Strategy: | LICOR LAI-2000: 1 up x 8 down x 3 times (24 measures) per ESU (20 m x 20 m), 270º viewcap
DHP: 12-15 measurements per ESU (20 m x 20 m)
WC: Destructive leaf samples (20-50 leaves) per ESU (20 m x 20 m)
SPAD-502: 2 replications x 35 leaves. First in the upper third of plants in a circular area of 10 meters, and Second in a circular area of 1 meter
Column | Var.Name |  | Comment
1 | Plot # |  | Number of the field plot in the site
2 | Plot Label |  | Label of the plot in the site
3 | ESU # |  | Number of the Elementary Sampling Unit (ESU)
4 | ESU Label |  | Label of the ESU in the campaign
5 | Northing Coord. |  | Geographical coordinate: Latitude (º), WGS-84
6 | Easting Coord. |  | Geographical coordinate: Longitude (º), WGS-84
7 | Extent (m) of ESU (diameter) |  | Size of the ESU (1)
8 | Land Cover |  | Detailed land cover
9 | Date (dd/mm/yyyy) |  | Starting date of measurements
11 | LAI | Method | Instrument
12 |  | Nb. Replications | Number of Replications
13 |  | LAIeff | Computed from the gap fraction as a function of the view zenith angle
14 |  | Uncertainty | LAIeff standard deviation
15 |  | LAI | LAItrue = LAIeff/clumping index
16 |  | Uncertainty | LAItrue standard deviation
17 | FAPAR | Method | Instrument
18 |  | Nb. Replications | Number of Replications
19 |  | FAPAR | Measured daily integrated FAPAR under direct llumination conditions at a given solar position
20 |  | Uncertainty | FAPAR standard deviation
21 | FCOVER | Method | Instrument
22 |  | Nb. Replications | Number of Replications
23 |  | FCOVER | Retrieved from gap fraction. fCover = 1-Po(0-10º)
24 |  | Uncertainty | FCOVER standard deviation
37 | OTHER | Canopy WC (kg/m2) | CWC = leaf WC * LAI
38 |  | Canopy Ch (mg/m2) | CCC = leaf Ch * LAI
39 |  | LAI57eff | Effective leaf area index calculated at the 57.5 zenith angle from DHP
40 |  | Clumping | Clumping Factor = LAIeff/LAItrue
41 |  | FAPAR (white sky) | white sky (or diffuse) FAPAR
46 | COMMENTS |  | Additional commets
(1) For Fcover, LAI, FAPAR and WC Size of ESU=20 m. For Ch Size of ESU=10m
Contact
Dataset prepared for the IMAGINES project

## GroundData
Plot # | Plot Label | ESU # | ESU Label | Northing Coord | Easting Coord | Extent (m) of ESU (diameter) | Land Cover | Date (dd/mm/yyyy) | LAI | [5 empty] | FAPAR |  |  |  | FCOVER |  |  |  | OTHER |  |  |  |  | COMMENTS
[9 empty] | Method | Nb. Replications | LAIeff | Uncertainty | LAI | Uncertainty | Method | Nb. Replications | FAPAR | Uncertainty | Method | Nb. Replications | FCOVER | Uncertainty | Canopy WC (kg/m2) | Canopy Ch (mg/m2) | LAI57eff | Clumping | FAPAR (white sky)
14 | SF02 | 1 | SF02A | 39.0793 | -2.1178 | 20 | Sunflower | 2009-06-20 | DHP | 15 | 2.9 | NA | 4 | NA | DHP | 15 | 0.83 | NA | DHP | 15 | 0.724 | NA | 1.315 | 1112 | 2.8 | 0.725 | 0.81
14 | SF02 | 2 | SF02B | 39.0797 | -2.1171 | 20 | Sunflower | 2009-06-20 | DHP | 15 | 1.8 | NA | 2.1 | NA | DHP | 15 | 0.68 | NA | DHP | 15 | 0.606 | NA | 0.7 | 600.6 | 1.8 | 0.85714 | 0.69
14 | SF02 | 3 | SF02C | 39.0801 | -2.1163 | 20 | Sunflower | 2009-06-20 | DHP | 15 | 1.5 | NA | 2.1 | NA | DHP | 15 | 0.62 | NA | DHP | 15 | 0.499 | NA | 0.68 | 615.3 | 1.6 | 0.71429 | 0.63

## Summary
SEN3EXP BARRAX: Available Vegetation Ground Measurements
PARAMETER | DATE | SAMPLING SITE (# ESUs) | INSTRUMENT | PROTOCOL | Extent (m) of ESU (diameter) | LAND COVER TYPE | ADDITIONAL DATA | COMMENTS
LAI | 20th-24th of June 2009 | 8 | LICOR LAI-2000 | 1 up x 8 down x 3 times (24 measures) per ESU, 270º viewcap | 20 | Corn, Oat, Potato | Uncertainty | instrument was used to measure LAI when conditions were not adequate for DHP
|  | 42 | DHP (NIKON Coolpix 4500 camera ) | 12-15 measurements per ESU |  | Sunflower, Fruit, Alfalfa, Corn, Garlic, Vineyard, Onion | LAI57eff, Clumping | estimated processing DHP with EYE-CAN
|  | 11 | View | Visual Inspection |  | Bare Areas and Senescent crops
FAPAR | 20th-24th of June 2009 | 40 | DHP (NIKON Coolpix 4500 camera ) | 12-15 measurements per ESU | 20 | Sunflower, Fruit, Alfalfa, Corn, Garlic, Vineyard, Onion | FAPAR (white sky) | estimated processing DHP with EYE-CAN
|  | 22 | View | Visual Inspection |  | Bare Areas and Senescent crops
FCOVER | 20th-24th of June 2009 | 40 | DHP (NIKON Coolpix 4500 camera ) | 12-15 measurements per ESU | 20 | Sunflower, Fruit, Alfalfa, Corn, Garlic, Vineyard, Onion |  | estimated processing DHP with EYE-CAN
|  | 22 | View | Visual Inspection | 20 | Bare Areas and Senescent crops